## Sheet1
`List of Hand Over Power System
No | No Masterlist | Item name | Quantity | Unit | Information of material (S/N, type, capacity, function, etc) | Quantity Check | Function Check | Date | Information of material (S/N, type, capacity, function, etc) | Remark | Status hand over | Status |  |  |  | Training Offshore
392 | 1 | H-shaped steel column GHT240B/9.0 | 2 | Unit | GHT240B/9.0 | 2 | ok | 2024-07-03 | GHT240B/9.0 GHT240B/8.9QX | GHT240B/9.0 : 1 unit GHT240B/8.9QX : 1 unit 1 unit under spek | Handed Over | Received | OCS | Gudang 506
393 | 2 | H-shaped steel column GHT240B/8.1 | 2 | Unit | GHT240B/8.1 | 2 | ok | 2024-07-03 | GHT240B/8.3 |  | Handed Over | Received | OCS | Gudang 506
394 | 3 | H-shaped steel column GH280B/7.9 | 2 | Unit | GH280B/7.9 | 2 | ok | 2024-07-03 | GHT240B/7.9 GH280B/9.0 | GHT240B/7.9 : 1 unit GH280B/9.0 : 1 unit | Handed Over | Received | OCS | Gudang 506
395 | 4 | H-shaped steel column GH280B/8.1 | 2 | Unit | GH280B/8.1 | 2 | ok | 2024-07-03 | GHT240B/8.1 GH280B/9.0 | GHT240B/8.1 : 1 unit GH280B/9.0 : 1 unit | Handed Over | Received | OCS | Gudang 506
396 | 5 | H-shaped steel column GH280B/9.0 | 2 | Unit | GH280B/9.0 | 2 | ok | 2024-07-03 | GH280B/9.0 |  | Handed Over | Received | OCS | Gudang 506
397 | 6 | H-shaped steel column GH280B/11 | 2 | Unit | GH280B/11 | 2 | ok | 2024-07-03 | GHT240B/11 | Spesifikasi yang diterima berbeda dengan yang dikirimkan, tapi lebih tebal | Handed Over | Received | OCS | Gudang 506
398 | 7 | Modular catenary support for emergency repair | 6 | Unit | - | 6 | ok | 2024-08-03 | - |  | Handed Over | Received | OCS | Gudang 506
408 | 8 | Bearing cable seat | 6 | Unit | - | 6 | ok | 2024-01-03 | - |  | Handed Over | Received | OCS | Gudang 506
316 | 9 | Top cantilever tube(Ø=70) | 6 | Unit | Ø=70 | 6 | ok | 2024-01-03 | Ø=70 |  | Handed Over | Received | OCS | Gudang 506
317 | 10 | Slanted cantilever tube(Ø=70) | 6 | Unit | Ø=70 | 6 | ok | 2024-01-03 | Ø=70 |  | Handed Over | Received | OCS | Gudang 506
323 | 11 | Cantilever connector | 6 | Unit | - | 6 | ok | 2024-01-03 | 70mm |  | Handed Over | Received | OCS | Gudang 506
318 | 12 | Cantilever brace | 6 | Unit |  | 6 | ok | 2024-01-03 | - | Satu set dengan connector 70mm | Handed Over | Received | OCS | Gudang 506
319 | 13 | Cantilever brace (for registration tube) | 6 | Unit |  | 6 | ok | 2024-01-03 | - | Satu set dengan connector 55mm | Handed Over | Received | OCS | Gudang 506
320 | 14 | Registration tube(Ø=55) | 6 | Unit | Ø=55 | 6 | ok | 2024-01-03 | - |  | Handed Over | Received | OCS | Gudang 506
322 | 15 | Steady arm | 6 | Unit | - | 6 | ok | 2024-01-03 | 1150mm |  | Handed Over | Received | OCS | Gudang 506
324 | 16 | Positioning support | 6 | Unit | - | 6 | ok | 2024-01-03 | 55mm |  | Handed Over | Received | OCS | Gudang 506
382 | 17 | cantilever base (single) | 9 | Unit | - | 9 | ok | 2024-06-03 | - |  | Handed Over | Received | OCS | Gudang 506
384 | 18 | cantilever base (double) | 9 | Unit | - | 9 | ok | 2024-06-03 | - |  | Handed Over | Received | OCS | Gudang 506
391 | 19 | Inverted column in tunnel | 6 | Unit | - | 6 | ok | 2024-07-03 | - |  | Handed Over | Received | OCS | Gudang 506
340 | 20 | Ratchet base of carrier cable | 3 | Pcs |  | 3 | ok | 2024-04-03 |  |  | Handed Over | Received | OCS | Gudang 506
339 | 21 | Ratchet base of contact wire | 3 | Pcs |  | 3 | ok | 2024-04-03 |  |  | Handed Over | Received | OCS | Gudang 506
383 | 22 | Ratchet wheel tensioning device | 6 | Unit | - | 6 | ok | 2024-06-03 | - |  | Handed Over | Received | OCS | Gudang 506
336 | 23 | Messenger wire | 2400 | meter | JTM-95 | 2400 | ok | 2024-04-03 | JTM-95 | Sparepart dan emergency repair digabung menjadi 3 Hazfel | Handed Over | Received | OCS | Gudang 506
377 | 24 | Messenger wire | 3900 | meter | JTMM-120 | 3900 | ok | 2024-04-03 | JTMM-120 | Sparepart dan emergency repair digabung menjadi 6 Hazfel | Handed Over | Received | OCS | Gudang 506
337 | 25 | Contact wire | 2400 | meter | CTMM-120 | 2400 | ok | 2024-04-03 | CTM-120 | Sparepart dan emergency repair digabung menjadi 3 Hazfel | Handed Over | Received | OCS | Gudang 506
376 | 26 | Contact wire | 3900 | meter | CTMM-150 | 3900 | ok | 2024-04-03 | CTMM-150 | Sparepart dan emergency repair digabung menjadi 6 Hazfel | Handed Over | Received | OCS | Gudang 506
378 | 27 | Power supply line | 1900 | meter | JL/LB20AF-250 | 2050 | ok | 2024-04-03 | JL/LB20AF-250 |  | Handed Over | Received | OCS | Gudang 506
380 | 28 | Negative feeder | 1900 | meter | JL/LB20AF-300 | 2030 | ok | 2024-05-03 | JL/LB20AF-300 |  | Handed Over | Received | OCS | Gudang 506
338 | 29 | Protective wire | 1900 | meter | JL/LB20AF-200 | 1900 | ok | 2024-04-03 | JL/LB20AF-200 |  | Handed Over | Received | OCS | Gudang 506
381 | 30 | Lightning wire | 1900 | meter | GJ-50 | 1900 | ok | 2024-05-03 | GJ-50 | Sparepart dan emergency repair digabung menjadi 3 Hazfel | Handed Over | Received | OCS | Gudang 506
327 | 31 | electrical connector clamp | 12 | Unit | - | 12 | ok | 2024-01-03 | - |  | Handed Over | Received | OCS | Gudang 506
379 | 32 | Electrical connection lead TJR-1-95 | 160 | meter | TJR-1-95 | 160 | ok | 2024-05-03 | TJR-1-95 |  | Handed Over | Received | OCS | Gudang 506
405 | 33 | Carrier cable connector | 12 | Unit | - | 12 | ok | 2024-01-04 | B1/23FI |  | Handed Over | Received | OCS | Gudang 504
325 | 34 | Terminal anchor clamp of Carrier cable | 16 | Unit | 95 | 16 | ok | 2024-01-03 | MW120 | Excess 5 unit | Handed Over | Received | OCS | Gudang 506
326 | 35 | Terminal anchor clamp of contact wire | 16 | Unit | 120 | 11 |  | 2024-01-04 | CW120 | Remaining 5 unit | Not Yet Handed Over | Partial Received | OCS | Gudang 506
390 | 36 | Pre-twisted suspension clamp | 64 | Unit | - | 64 | ok | 2024-07-03 | JRHA1/LB20AF-300/50-26/7 |  | Handed Over | Received | OCS | Gudang 506 | Hanya 16 unit yang bisa dipakai
328 | 37 | center anchor clamp of Contact wire | 3 | Unit | - | 3 | ok | 2024-01-03 | - |  | Handed Over | Received | OCS | Gudang 506
329 | 38 | center anchor clamp of Carrier cable | 3 | Unit | - | 3 | ok | 2024-01-03 | - |  | Handed Over | Received | OCS | Gudang 506
386 | 39 | Composite suspension insulator | 90 | Unit | - | 90 | ok | 2024-06-03 | - | Sparepart dan emergency repair digabung menjadi 2 Box. Rejected 2 unit defect. (Completed on 07/03/2024) | Handed Over | Received | OCS | Gudang 506
385 | 40 | 16KN silicone rubber rod insulator | 90 | Unit | - | 90 | ok | 2024-06-03 | - | Sparepart dan emergency repair digabung menjadi 3 Box | Handed Over | Received | OCS | Gudang 506
387 | 41 | Suspended rod porcelain insulator | 90 | Unit | - | 90 | ok | 2024-08-03 | XWP2-70 |  | Handed Over | Received | OCS | Gudang 506 | Kelengkapan spipen kurang 90 pcs
321 | 42 | Line bifurcation | 3 | Unit | - | 3 | ok | 2024-01-03 | L260 |  | Handed Over | Received | OCS | Gudang 506
330 | 43 | Elastic sling clip | 12 | Unit | - | 12 | ok | 2024-01-03 | 35-120 |  | Handed Over | Received | OCS | Gudang 506
331 | 44 | The elastic line | 120 | meter | JTMH35 | 120 | ok | 2024-01-03 | JTMH35 |  | Handed Over | Received | OCS | Gudang 506
332 | 45 | Overall hanging strings | 60 | Unit | - | 60 | ok | 2024-01-03 | - |  | Handed Over | Received | OCS | Gudang 506
258 | 46 | Intermediate connector of high voltage | 50 | Unit | - | 50 | ok | 29/02/2024 | - |  | Handed Over | Received | OCS | Gudang 506
299 | 47 | High voltage cable terminal | 50 | Unit | - | 50 | ok | 2024-01-03 | 27,5kV TLZYW 1*400 |  | Handed Over | Received | OCS
404 | 48 | Windstay wire | 6 | Unit | - | 6 | ok | 2024-08-03 | L=600 (Registration pole) | Diganti dengan registration pole sesuai dengan persetujuan Mr. Nidong | Handed Over | Received | OCS | Gudang 506
264 | 49 | Power Transformer | 1 | Unit | SC13-125/20 20/0.4kV | 1 | ok | 29/02/2024 | SC13-125/20 20/0.4kV |  | Handed Over | Received | Electrical | Gudang 506
301 | 50 | Indoor cold shrink terminal | 1 | Set | Suitable for YJV22-18/30 3×240mm²cable | 1 | ok | 2024-01-03 | 18/30 3×240mm² |  | Handed Over | Received | electric | lt 2
302 | 51 | Cable Intermediate Head | 1 | Set | Suitable for YJV22-18/30 3×240mm²cable | 1 | ok | 2024-01-03 | 18/30 3×240mm² |  | Handed Over | Received | electric | lt 2
304 | 52 | European T-type plug-in indoor cold shrinkable cable terminal head | 5 | Set | Suitable for YJV62-18/30 1×35mm² cable with cold shrinkable cable accessories | 5 | ok | 2024-01-03 | Suitable for YJV62-18/30 1×35mm² cable with cold shrinkable cable accessories | Received 3 item on 05/03/2024 | Handed Over | Received | electric | lt 2
305 | 53 | High voltage cable cold shrink intermediate joint | 5 | Set | Suitable for YJV62-18/30 1×35mm² cable with tinned copper connector | 5 | ok | 2024-01-03 | 18/30 3×240mm² | The specifications received are too different in size. It should be 1x35mm², received 3x240 mm² | Handed Over | Received | electric | lt 2
300 | 54 | Cable Sheath Protector | 5 | Set | Suitable for YJV62-18/30 1×35mm² cable, a set of 3 pieces | 5 | ok | 2024-01-03 | FBY-4 20kV |  | Handed Over | Received | electric | lt 2
389 | 55 | High voltage power cable | 50 | meter | Cu/XLPE/CTS/PVC/DSTA/PVC-18/30(36)kV 3×240mm² | 50 | ok | 2024-07-03 | Cu/XLPE/CTS/PVC/DSTA/PVC-18/30(36)kV 3×240mm² |  | Handed Over | Received | Electric | Gudang 506
388 | 56 | High voltage power cable | 1800 | meter | Cu/XLPE/CTS/PVC/DATA/PVC-18/30(36)kV 1×35mm² | 2060 | ok | 2024-07-03 | Cu/XLPE/CTS/PVC/DATA/PVC-18/30(36)kV 1×35mm² |  | Handed Over | Received | Electric | Gudang 506
256 | 57 | Handcart type high voltage circuit breaker | 4 | Unit | ZN□-24/ 630-25 (630A 25kA ) | 4 | ok | 29/02/2024 | ZN□-24/ 630-25 (630A 25kA ) |  | Handed Over | Received | Electrical | Gudang 506
257 | 58 | Handcart type high voltage circuit breaker | 4 | Unit | ZN□-24/ 1250-31.5 （1250A-31.5kA） | 4 | ok | 29/02/2024 | ZN□-24/ 1250-31.5 （1250A-31.5kA） |  | Handed Over | Received | Electrical | Gudang 506
259 | 59 | High Voltage Fuse | 4 | Set | XRNP-24/0.5A (For protection of voltage transformers) | 4 | ok | 29/02/2024 | XRNP-24/0.5A (For protection of voltage transformers) |  | Handed Over | Received | Electrical | Gudang 506
260 | 60 | High Voltage Fuse | 4 | Set | XRNT1-24/10A (To protect the transformer used) | 4 | ok | 29/02/2024 | XRNT1-24/10A (To protect the transformer used) |  | Handed Over | Received | Electrical | Gudang 506
261 | 61 | Lightning Arrester | 8 | Set | HY5WZ-32/85 | 8 | ok | 29/02/2024 | HY5WZ-32/85 |  | Handed Over | Received | Electrical | Gudang 506
262 | 62 | High Voltage Transformer | 6 | Unit | JDZX-20/√3/0.1/√3/0.1/3 0.5/3P 50VA/100VA (Main bus PT) | 6 | ok | 29/02/2024 | JDZX-20/√3/0.1/√3/0.1/3 0.5/3P 50VA/100VA (Main bus PT) |  | Handed Over | Received | Electrical | Gudang 506
263 | 63 | High Voltage Transformer | 2 | Unit | JDZ-20/0.1 0.2级 30VA (Incoming line PT) | 2 | ok | 29/02/2024 | JDZ-20/0.1 0.2级 30VA (Incoming line PT) |  | Handed Over | Received | Electrical | Gudang 506
345 | 64 | High voltage load switch electric operating mechanism | 5 | Unit | The electric operating mechanism of the load switch of the high-voltage ring network cabinet is used for the supporting box-type transformer ring network cabinet | 5 | ok | 2024-04-03 | HEC600-MCU |  | Handed Over | Received | Electric | Gudang 506
344 | 65 | High voltage load switch electric operating mechanism | 6 | Unit | The electric operating mechanism of the load switch of the high-voltage ring network cabinet is used in supporting the ring network cabinet of the substation | 6 | ok | 2024-04-03 | MCU-RI P2 |  | Handed Over | Received | Electric | Gudang 506
346 | 66 | Low-voltage circuit breaker electric operating mechanism | 7 | Unit | Supporting Schneider 160A frame molded case circuit breaker | 7 | ok | 2024-04-03 | MT100/160 |  | Handed Over | Received | Electric | Gudang 506
347 | 67 | Low-voltage circuit breaker electric operating mechanism | 6 | Unit | Supporting Schneider 250A frame molded case circuit breaker | 6 | ok | 2024-04-03 | MT250 |  | Handed Over | Received | Electric | Gudang 506
348 | 68 | Low-voltage circuit breaker electric operating mechanism | 2 | Unit | Supporting Schneider 630A frame molded case circuit breaker | 2 | ok | 2024-04-03 | MT400/630 |  | Handed Over | Received | Electric | Gudang 506
343 | 69 | Low-voltage circuit breaker electric operating mechanism | 12 | Unit | Matching ABB 250A frame molded case circuit breaker | 12 | ok | 2024-04-03 |  |  | Handed Over | Received | Electric | Gudang 506
342 | 70 | Low-voltage circuit breaker electric operating mechanism | 3 | Set | Matching ABB 630A frame molded case circuit breaker | 3 | ok | 2024-04-03 |  |  | Handed Over | Received | Electric | Gudang 506
308 | 71 | Power Supply Board | 12 | Pcs | NDT660-PWR.B-A-01 (110V/220V 2.5A) Power board, suitable for feeder, bus tie, capacitor installation. Supporting the use of microcomputer protection devices in power distribution stations | 12 | ok | 2024-01-03 | NDT660-PWR.B-A-01 | 1 Pcs completed on 04/03/2024 | Handed Over | Received | electric | lt 2
349 | 72 | Measurement and Control Panel | 2 | Pcs | NDT660-DO.C-A-01 (2.3DO) Remote control board, suitable for feeder, capacitor installation. Supporting the use of microcomputer protection devices in power distribution stations | 2 | ok | 2024-04-03 | NDT660-D0.C-A-01 |  | Handed Over | Received | Electric | Gudang 506
306 | 73 | Measurement and Control Panel | 2 | Pcs | NDT660-DO.C-A-02 (2.8DO) Remote control board, suitable for coupler installations. Supporting the use of microcomputer protection devices in power distribution stations | 2 | ok | 2024-01-03 | NDT660-DO.C-A-02 |  | Handed Over | Received | electric | lt 2
350 | 74 | Measurement and Control Panel | 2 | Pcs | NDT660-DI.B-A-02 220V(20DI) Remote signal board, suitable for feeder and capacitor installation. Supporting the use of microcomputer protection devices in power distribution stations | 2 | ok | 2024-04-03 | NDT660-DI.B-A-02 220V(20DI) Remote signal board, suitable for feeder and capacitor installation. Supporting the use of microcomputer protection devices in power distribution stations |  | Handed Over | Received | Electric | Gudang 506
309 | 75 | Measurement and Control Panel | 2 | Pcs | DZX-661-AC.A-A-15(3TA7-100A,1TA9-12A,3TA2-6A,6TV4-150V) Telemetry board, suitable for feeder units. Supporting the use of microcomputer protection devices in power distribution stations | 2 | ok | 2024-01-03 | DZX-661-AC.A-A-15 |  | Handed Over | Received | electric | lt 2
310 | 76 | Measurement and Control Panel | 2 | Pcs | WRZ-661-AC.A-A-15(3TA7-100A,1TA9-12A,3TA2-6A,6TV4-150V) Telemetry board, suitable for capacitive devices. Supporting the use of microcomputer protection devices in power distribution stations | 2 | ok | 2024-01-03 | WRZ-661-AC.A-A-15 | Remaining 1 Pcs Completed on 01/04/2024 | Handed Over | Received | electric | lt 2
311 | 77 | Measurement and Control Panel | 2 | Pcs | DZM-661-AC.A-A-05(5TA7-100A,3TA2-6A,6TV4-150V) Telemetry board, suitable for coupling units. Supporting the use of microcomputer protection devices in power distribution stations | 2 | ok | 2024-01-03 | DZM-661-AC.A-A-05 |  | Handed Over | Received | electric | lt 2
307 | 78 | Export Plate | 12 | Pcs | NDT660-TRIP.A-A-02 220V Export plate, suitable for feeder, bus tie, capacitor installation. Supporting the use of microcomputer protection devices in power distribution stations | 12 | ok | 2024-01-03 | NDT660-TRIP.A-A-02 | 2 Pcs completed on 04/03/2024 | Handed Over | Received | electric | lt 2
303 | 79 | Optocoupler terminal | 12 | Unit | UDK-O | 12 | ok | 2024-01-03 | 4mm |  | Handed Over | Received | electric | lt 2
244 | 80 | RTU Card | 10 | Set | Box type substation RTU board | 10 | ok | 29/02/2024 | GM7-A |  | Handed Over | Received | Electrical
245 | 81 | RTU Card | 1 | Unit | Communication management machine GM7-B suitable for low-voltage substations | 1 | ok | 29/02/2024 | GM7-B |  | Handed Over | Received | Electrical
246 | 82 | RTU Card | 4 | Unit | low-voltage RTUs GM7-C are suitable for low-voltage substations | 4 | ok | 29/02/2024 | GM7-C |  | Handed Over | Received | Electrical
333 | 83 | 150KV traction transformer high voltage side casing | 3 | Set | BRW-252/630-3 | 3 | ok | 2024-01-03 | BRW-252/630-3 |  | Handed Over | Received | Traksi | Gudang 506
334 | 84 | Traction transformer low side bushing | 3 | Set | BFW-46/2000-4 | 3 | ok | 2024-01-03 | BFW-46/2000-4 |  | Handed Over | Received | Traksi | Gudang 506
254 | 85 | Traction transformer tap changer | 1 | Set | W(DD)BⅡ800/170-8x7(511) | 1 | ok | 29/02/2024 | W(DD)BⅡ800/170-8x7(511) |  | Handed Over | Received | Traksi
251 | 86 | Traction transformer temperature and humidity meter | 3 | Set | LD-H32A 10-N | 3 | ok | 29/02/2024 | BWY-804A(TH) |  | Handed Over | Received | Traksi
252 | 87 | Traction transformer pressure release device | 3 | Set | YSF-70/130KKJ | 3 | ok | 29/02/2024 | YSF-70/130KKJ |  | Handed Over | Received | Traksi
407 | 88 | Traction transformer oil level gauge | 3 | Set | Integrated with oil conservator | 3 | ok | 2024-01-04 | - |  | Handed Over | Received | Traksi | Gudang 504
315 | 89 | Traction transformer radiator | 3 | Set | - | 3 | ok | 2024-01-03 | - |  | Handed Over | Received | Traksi | Gudang 506
250 | 90 | Traction transformer gas relay | 2 | Set | QJ4-80A | 2 | ok | 29/02/2024 | QJ4-80A |  | Handed Over | Received | Traksi
335 | 91 | Autotransformer bushing | 3 | Set | BFW-46/800-4L | 3 | ok | 2024-01-03 | 2 Set : sama 1 Set : BFWC-12/2000-4 | 2 Set spek sama, 1 set beda | Handed Over | Received | Traksi | Gudang 506
248 | 92 | Autotransformer pressure relief device | 3 | Set | YSF-55/80KJ | 3 | ok | 29/02/2024 | YSF-55/80KJ |  | Handed Over | Received | Traksi
253 | 93 | Autotransformer butterfly valve | 3 | Set | 5BB.455.139 | 3 | ok | 29/02/2024 | 5BB.455.139 |  | Handed Over | Received | Traksi
247 | 94 | Autotransformer thermostat | 3 | Set | BWY-804A(TH) | 3 | ok | 29/02/2024 | LD-H32A 10-N |  | Handed Over | Received | Traksi
314 | 95 | Autotransformer radiator | 3 | Set | - | 3 | ok | 2024-01-03 | - | 1 unit completed on 04/03/2024 | Handed Over | Received | Traksi | Gudang 506
249 | 96 | Autotransformer gas relay | 2 | Set | QJ4-80A | 2 | ok | 29/02/2024 | QJ4-80A |  | Handed Over | Received | Traksi
312 | 97 | Current transformer 150KV | 1 | Set | 150kV 2*400/1 0.2S 2*400/1 0.5 2*400/1/1/1/1/1/1 5P20/5P20/5P20/5P20/5P20/PX | 1 | ok | 2024-01-03 | 150kV 2*400/1 0.2S 2*400/1 0.5 2*400/1/1/1/1/1/1 |  | Handed Over | Received | Traksi | Gudang 506
313 | 98 | Voltage transformer 150KV | 1 | Set | 150/√3/0.1/√3/0.1/√3/ 0.2/0.5/3P | 1 | ok | 2024-01-03 | 150/√3/0.1/√3/0.1/√3/ 0.2/0.5/3P |  | Handed Over | Received | Traksi | Gudang 506
369 | 99 | Isolation switch motor | 3 | Set | 8S032204AC reduction gearbox matching | 3 | X | 2024-04-03 | SBZ00-370/1400/110 | Unable to test | Handed Over | Received | Traksi | Gudang 506
367 | 100 | Isolation switch opening contactor | 10 | Set | AF09-30-01-13+CA4-01+CA4-10 | 10 | X | 2024-04-03 | AF09-30-01-13+CA4-01+CA4-10 | Unable to test | Handed Over | Received | Traksi | Gudang 506
368 | 101 | Isolation switch closing contactor | 10 | Set | AF09-30-01-13+CA4-01+CA4-10 | 10 | X | 2024-04-03 | AF09-30-01-13+CA4-01+CA4-10 | Unable to test | Handed Over | Received | Traksi | Gudang 506
370 | 102 | Isolation switch auxiliary switch | 10 | Set | ZKF2-10/L | 10 | X | 2024-04-03 | ZKF2-10/L | Unable to test | Handed Over | Received | Traksi | Gudang 506
371 | 103 | Isolation switch terminal block | 10 | Set | UK5N | 10 | X | 2024-04-03 | UK5N | Unable to test | Handed Over | Received | Traksi | Gudang 506
374 | 104 | High voltage side isolation switch high voltage bushing | 3 | Set | 170KV insulator 5SR.720.066 | 3 | X | 2024-04-03 | 170KV insulator 5SR.720.066 | Unable to test | Handed Over | Received | Traksi | Gudang 506
351 | 105 | Manual disconnect switch operating mechanism | 1 | Set | SRCJ3 (without electric) | 1 | X | 2024-04-03 | SRCJ3 | Unable to test | Handed Over | Received | Traksi | Gudang 506
373 | 106 | Low-voltage side isolation switch high voltage bushing | 2 | Set | 170KV insulator 5SR.720.066 | 2 | X | 2024-04-03 | 170KV insulator 5SR.720.066 | Unable to test | Handed Over | Received | Traksi | Gudang 506
352 | 107 | Electric isolation switch operating mechanism | 1 | Set | SRCJ2/SRCJ3 | 1 | X | 2024-04-03 | SRCJ2/SRCJ3 | Unable to test | Handed Over | Received | Traksi | Gudang 506
243 | 108 | circuit breaker operating mechanism | 1 | Set | - | 1 | ok | 28/02/2024 |  |  | Handed Over | Received | traksi | Gudang 506
372 | 109 | High-voltage side circuit breaker casing | 2 | Set | - | 2 | X | 2024-04-03 |  | Unable to test | Handed Over | Received | Traksi | Gudang 506
292 | 111 | Circuit breaker SF6 inflation joint and hose | 3 | Set | 3AP1 dedicated | 3 | ok | 29/02/2024 | 4Q19HOSE |  | Handed Over | Received | Traksi | Gardu Traksi Tegalluar
296 | 112 | Circuit breaker manual opening and closing lock lever | 3 | Set | 3AP1 dedicated | 3 | ok | 29/02/2024 | - |  | Handed Over | Received | Traksi | Gardu Traksi Tegalluar
406 | 113 | Circuit breaker micro water measuring probe | 3 | Set | 3AP1 dedicated | 3 | ok | 2024-01-04 | GT16-02 |  | Handed Over | Received | Traksi | Gudang 504
298 | 114 | Circuit breaker motor | 3 | Set | DC110V | 3 | ok | 29/02/2024 | - |  | Handed Over | Received | Traksi | Gardu Traksi Tegalluar
293 | 115 | Circuit breaker opening and closing button | 3 | Set | 3AP1 dedicated | 3 | ok | 29/02/2024 | - |  | Handed Over | Received | Traksi | Gardu Traksi Tegalluar
294 | 116 | Circuit breaker switch | 3 | Set | 3AP1 dedicated | 3 | ok | 29/02/2024 | E29-SA-02 |  | Handed Over | Received | Traksi | Gardu Traksi Tegalluar
297 | 117 | Circuit breaker handle | 3 | Set | 3AP1 dedicated | 3 | ok | 29/02/2024 | - |  | Handed Over | Received | Traksi | Gardu Traksi Tegalluar
289 | 118 | Circuit breaker opening coil | 5 | Set | DC110V | 5 | ok | 29/02/2024 | DC110V |  | Handed Over | Received | Traksi | Gardu Traksi Tegalluar
290 | 119 | Circuit breaker closing coil | 5 | Set | DC110V | 5 | ok | 29/02/2024 | DC110V |  | Handed Over | Received | Traksi | Gardu Traksi Tegalluar
295 | 120 | Circuit breaker relay | 5 | Set | 24-230V AC/DC | 5 | ok | 29/02/2024 | DC110V AC230V 10A |  | Handed Over | Received | Traksi | Gardu Traksi Tegalluar
291 | 121 | Circuit breaker air switch | 5 | Set | 220V AC.13A | 5 | ok | 29/02/2024 | 5SYS210-7CC 10 A |  | Handed Over | Received | Traksi | Gardu Traksi Tegalluar
242 | 122 | Lightning arrester 150KV | 1 | Unit | 150/335 | 1 | ok | 28/02/2024 |  |  | Handed Over | Received | traksi | Gudang 506
265 | 123 | Lightning arrester 27.5KV | 4 | Set | 42/120 | 4 | ok | 29/02/2024 | 42/120 |  | Handed Over | Received | Traksi | Gudang 506
341 | 124 | Arrester discharge counter | 6 | Set | Mounting bracket included (for all kiosks) | 6 | ok | 2024-04-03 | JCQ-D485 |  | Handed Over | Received | Traksi | Gardu Traksi Tegalluar
365 | 125 | 27.5KV arrester (in the switch cabinet) | 4 | Set | CM-27.5 | 4 | X | 2024-04-03 | CM-27.5 | Unable to test | Handed Over | Received | Traksi | Gudang 506
364 | 126 | Current transformer 27.5KV | 1 | Set | Matches the current transformer of the 27.5kV GIS cabinet in the substation | 1 | X | 2024-04-03 | LZZB8-27.5CQ/198 | Unable to test | Handed Over | Received | Traksi | Gudang 506
375 | 127 | Voltage transformer 27.5KV | 1 | Set | Matches the voltage transformer of the 27.5kV GIS cabinet in the substation | 1 | X | 2024-04-03 | GBEAB52_3 | Unable to test | Handed Over | Received | Traksi | Gudang 506
359 | 128 | GIS switchgear motor (circuit breaker energy storage) | 4 | Set | HDZ-70-30N | 4 | X | 2024-04-03 | HDZ-70-30N | Unable to test | Handed Over | Received | Traksi | Gudang 506
360 | 129 | GIS switchgear motor (three-station motor) | 4 | Set | ZYJ55-6E | 2 | X | 2024-04-03 | ZYJ55-6E | Unable to test remaining 2 set | Handed Over | Received | Traksi | Gudang 506 | Completed On 27/08/2024
366 | 131 | GIS switchgear heater | 20 | Set | DJR-60F | 19 | X | 2024-04-03 | DJR-60F | Unable to test remaining 1 set | Handed Over | Received | Traksi | Gudang 506 | Completed On 27/08/2024
356 | 132 | GIS switchgear position indicator (closed) | 20 | Set | AD11-22/21-9GZ | 20 | X | 2024-04-03 | AD11-22/21-9GZ | Unable to test | Handed Over | Received | Traksi | Gudang 506
357 | 133 | GIS switchgear position indicator (opening) | 20 | Set | AD11-22/21-9GZ | 20 | X | 2024-04-03 | AD11-22/21-9GZ | Unable to test | Handed Over | Received | Traksi | Gudang 506
362 | 134 | GIS switch cabinet coil | 20 | Set | GIS-HZ/GIS-FZ | 20 | X | 2024-04-03 | GIS-FZ-D0110V40 ohm GIS-HZ-D0110V51 ohm | Unable to test | Handed Over | Received | Traksi | Gudang 506
358 | 135 | GIS switchgear auxiliary switch | 20 | Set | F10-17ⅡW3 | 20 | X | 2024-04-03 | F10-17ⅡW3 | Unable to test | Handed Over | Received | Traksi | Gudang 506
355 | 136 | GIS switchgear switch (local / remote) | 20 | Set | LW38D-164D1688/6 | 8 | X | 2024-04-03 | LW38D-164D1688/6 | Unable to test, remaining 12 Set | Handed Over | Received | Traksi | Gudang 506 | Completed On 27/08/2024
353 | 137 | GIS switchgear switch (divide / close) | 20 | Set | LW38D-164B0339/2 | 20 | X | 2024-04-03 | LW38D-16 | Unable to test | Handed Over | Received | Traksi | Gudang 506
361 | 138 | GIS switch cabinet auxiliary contact | 20 | Set | F10-18ⅡW4 | 20 | X | 2024-04-03 | F10-18ⅡW4 | Unable to test | Handed Over | Received | Traksi | Gudang 506
363 | 139 | GIS switchgear air switch | 20 | Set | CH3H-63C2A/1P CH3Z-63C4A/2P | 20 | X | 2024-04-03 | CH3H-63C2A/1P CH3Z-63C4A/2P | Unable to test | Handed Over | Received | Traksi | Gudang 506
354 | 140 | GIS switchgear relay | 20 | Set | RXM4AB1FD | 20 | X | 2024-04-03 | RXM4AB1FD | Unable to test | Handed Over | Received | Traksi | Gudang 506
280 | 141 | Self-injection device exchange board | 7 | Pcs | J2JA20 | 7 | ok | 29/02/2024 | J2JG-215-B07 |  | Handed Over | Received | Traksi | Gardu Traksi Tegalluar
270 | 142 | Prepared self-injection device CPU board | 7 | Pcs | J2CA30 | 7 | ok | 29/02/2024 | J2CA-215-B06 |  | Handed Over | Received | Traksi | Gardu Traksi Tegalluar
401 | 143 | Self-injection device | 7 | Pcs | JDA | 7 | ok | 2024-08-03 | J2IA-B03 |  | Handed Over | Received | Traksi | Gardu Traksi Tegalluar
276 | 144 | Self-injection device exit plate | 7 | Pcs | J2CA30 | 7 | ok | 29/02/2024 | J2OB | remaining 1 Completed on 08/03/2024 | Handed Over | Received | Traksi | Gardu Traksi Tegalluar
281 | 145 | Self-injection device power board | 7 | Pcs | J3DA10 | 7 | ok | 29/02/2024 | J3DA |  | Handed Over | Received | Traksi | Gardu Traksi Tegalluar
266 | 146 | Differential protection device AC board | 7 | Pcs | J2JA20 | 7 | ok | 29/02/2024 | J2JA-201-B05 |  | Handed Over | Received | Traksi | Gardu Traksi Tegalluar
271 | 147 | Differential protection device CPU board | 7 | Pcs | J2CA30 | 7 | ok | 29/02/2024 | J2CA-201-B04 |  | Handed Over | Received | Traksi | Gardu Traksi Tegalluar
287 | 148 | Differential protection device outlet plate | 7 | Pcs | J2OA10 | 7 | ok | 29/02/2024 | J2OA |  | Handed Over | Received | Traksi | Gardu Traksi Tegalluar
282 | 149 | Differential protection device power board | 7 | Pcs | J3DA10 | 7 | ok | 29/02/2024 | J3DA |  | Handed Over | Received | Traksi | Gardu Traksi Tegalluar
267 | 150 | Backup protection device exchange board | 7 | Pcs | J2JA20 | 7 | ok | 29/02/2024 | J2JA-201-B06 |  | Handed Over | Received | Traksi | Gardu Traksi Tegalluar
277 | 151 | Backup protection device CPU board | 7 | Pcs | J2CA30 | 7 | ok | 29/02/2024 | J2CA-211-B04 |  | Handed Over | Received | Traksi | Gardu Traksi Tegalluar
288 | 152 | Backup protection device exit plate | 7 | Pcs | J2OA10 | 7 | ok | 29/02/2024 | J2OA | remaining 1 Completed on 08/03/2024 | Handed Over | Received | Traksi | Gardu Traksi Tegalluar
283 | 153 | Backup protection device power board | 7 | Pcs | J3DA10 | 7 | ok | 29/02/2024 | J3DA |  | Handed Over | Received | Traksi | Gardu Traksi Tegalluar
268 | 154 | Integrated measuring and controlling device exchange board | 7 | Pcs | J2JA10 | 7 | ok | 29/02/2024 | J2JA-203-B05 |  | Handed Over | Received | Traksi | Gardu Traksi Tegalluar
272 | 155 | Integrated measurement and control device CPU board | 7 | Pcs | J2CA30 | 7 | ok | 29/02/2024 | J2CA-203-B04 |  | Handed Over | Received | Traksi | Gardu Traksi Tegalluar
402 | 156 | Integrated measurement and control device | 7 | Pcs | JDA-203 | 7 | ok | 2024-08-03 | J2IA-B04 |  | Handed Over | Received | Traksi | Gardu Traksi Tegalluar
399 | 157 | Integrated measuring and controlling device exit board | 7 | Pcs | J2OA10 | 7 | ok | 2024-08-03 | J2OA-B02 |  | Handed Over | Received | Traksi | Gardu Traksi Tegalluar
284 | 158 | Integrated measurement and control device power board | 7 | Pcs | J3DA10 | 7 | ok | 29/02/2024 | J3DA |  | Handed Over | Received | Traksi | Gardu Traksi Tegalluar
279 | 159 | Feeder protection monitoring and control device AC board | 7 | Pcs | J2JA10 | 7 | ok | 29/02/2024 | J2JA-211-B05 | 1 item completed on 04/03/2024 | Handed Over | Received | Traksi | Gardu Traksi Tegalluar
278 | 160 | Feeder protection monitoring and control device CPU board | 7 | Pcs | J2CA30 | 7 | ok | 29/02/2024 | J2CA-211-B04 | remaining 1 Completed on 08/03/2024 | Handed Over | Received | Traksi | Gardu Traksi Tegalluar
403 | 161 | Line protection measurement and control device | 7 | Pcs | JDA-211 | 7 | ok | 2024-08-03 | J2IA-B03 |  | Handed Over | Received | Traksi | Gardu Traksi Tegalluar
400 | 162 | Feeder protection monitoring and control device exit plate | 7 | Pcs | J2OA10 | 14 | ok | 2024-08-03 | J2OA-B02 |  | Handed Over | Received | Traksi | Gardu Traksi Tegalluar
285 | 163 | Feeder protection monitoring and control device power board | 7 | Pcs | J3DA10 | 7 | ok | 29/02/2024 | J3DA | remaining 1 Completed on 08/03/2024 | Handed Over | Received | Traksi | Gardu Traksi Tegalluar
269 | 164 | Fault distance measuring device AC board | 7 | Pcs | J2JA10 | 7 | ok | 29/02/2024 | J2JA-221-B05 |  | Handed Over | Received | Traksi | Gardu Traksi Tegalluar
274 | 165 | Fault ranging device CPU board | 7 | Pcs | J2CA30 | 7 | ok | 29/02/2024 | J2CA-221-B04 |  | Handed Over | Received | Traksi | Gardu Traksi Tegalluar
273 | 166 | Fault ranging device exit plate | 7 | Pcs | J2IA10 | 7 | ok | 29/02/2024 | J2IA |  | Handed Over | Received | Traksi | Gardu Traksi Tegalluar
286 | 167 | Fault ranging device power board | 7 | Pcs | J3DA10 | 7 | ok | 29/02/2024 | J3DA |  | Handed Over | Received | Traksi | Gardu Traksi Tegalluar
275 | 168 | Optocoupler terminal (substation) | 7 | Pcs | Comprehensive and self-supporting | 7 | ok | 29/02/2024 | TB-4 |  | Handed Over | Received | Traksi | Gardu Traksi Tegalluar
178 | 169 | Full automatic anti-interference dielectric loss tester | 1 | Unit | SYD-3300 | 1 | ok | 28/02/2024 | SYD-3300 |  | Handed Over | Received | traksi
39 | 170 | Loop resistance tester | 1 | unit | SYD-2200, 300A | 1 | ok | 23/02/2024 |  | No power cable | Handed Over | Received |  | 12/06/2024 power kabel
28 | 171 | Transformer DC resistance tester | 1 | unit | SYD-3501 | 1 | ok | 23/02/2024 | SYD-3501 |  | Handed Over | Received
179 | 172 | High-voltage switch characteristic tester | 1 | Unit | SYD-2100 | 1 | ok | 28/02/2024 | SYD-2100 |  | Handed Over | Received | traksi
43 | 173 | Full automatic transformer comprehensive tester | 1 | Unit | SYD-3900 | 1 | ok | 24/02/2024 | SYD-3900 |  | Handed Over | Received | Traksi
97 | 174 | Intelligent power frequency withstand voltage test device (test transformer, control box) | 1 | set | SYD-8400 | 1 | X | 26/02/2024 |  | Unable to test | Handed Over | Received
36 | 175 | DC high voltage generator SYD-8000/120 | 1 | unit | SYD-8400/120 | 1 | ok | 23/02/2024 | SYD-8400/120 |  | Handed Over | Received
37 | 176 | DC high voltage generator SYD-8000/200 | 1 | unit | SYD-8400/200 | 1 | ok | 23/02/2024 | SYD-8400/200 |  | Handed Over | Received
26 | 177 | Zinc oxide arrester charged detector | 1 | Set | YJ-180 | 1 | ok | 23/02/2024 | YJ-180 |  | Handed Over | Received
231 | 178 | Relay protection tester | 1 | Unit | SYD-5210, SDJB | 1 | ok | 28/02/2024 | SYD-5210 |  | Handed Over | Received | traksi
177 | 179 | Three-phase relay protection tester | 1 | Unit | YJ-180 | 1 | ok | 28/02/2024 | YJ-180 |  | Handed Over | Received | traksi |  |  | ✅
54 | 180 | Intelligent charging and discharging instrument | 1 | Unit | SYD-5200 | 1 | X | 24/02/2024 | SYD-5200 | Unable to test | Handed Over | Received | traksi
175 | 181 | Battery internal resistance tester | 1 | Unit | SYD-3554 | 1 | ok | 27/02/2024 | SYD-3554 |  | Handed Over | Received | traksi
194 | 182 | Insulating helmet | 48 | Pcs | - | 48 | ok | 28/02/2024 | - |  | Handed Over | Received | traksi
226 | 183 | 35kV Insulated Shoes | 20 | Set | - | 20 | ok | 28/02/2024 | 35kV |  | Handed Over | Received | traksi
174 | 184 | Insulated Gloves | 20 | Set | - | 20 | ok | 27/02/2024 | 35kV |  | Handed Over | Received | traksi
208 | 185 | Safety belt | 20 | Set | - | 20 | ok | 28/02/2024 | R030 |  | Handed Over | Received | traksi
235 | 186 | 8m Insulated human step ladder | 10 | Pcs | 8m | 10 | ok | 28/02/2024 | 8m |  | Handed Over | Received | traksi | Gudang 506
236 | 187 | 2m Insulated human step ladder | 10 | Pcs | 2m | 10 | ok | 28/02/2024 | 2m |  | Handed Over | Received | traksi | Gudang 506
239 | 188 | Insulated Elevator | 10 | Pcs | 8m | 10 | ok | 28/02/2024 | 8m |  | Handed Over | Received | traksi | Gudang 506
96 | 189 | Strong light flood light | 26 | pcs | FW6105GC-J | 26 | ok | 26/02/2024 | GAD5116 |  | Handed Over | Received
232 | 190 | 8M Ground wire (including ground rod, etc.) | 60 | Set | - | 60 | ok | 28/02/2024 | - | Aksesoris kurang (no stick 60 pcs) Completed on 01/04/2024 | Handed Over | Received | traksi
233 | 191 | 15M Ground wire (including ground rod, etc.) | 60 | Set | - |  |  | 28/02/2024 |  | Aksesoris kurang (no stick 60 pcs) | Not Yet Handed Over | Partial Received | traksi
66 | 192 | 20kV testpen | 10 | Pcs | 20kV | 10 | ok | 26/02/2024 |  |  | Handed Over | Received | traksi
68 | 193 | 27.5kV testpen | 10 | Pcs | 27.5kV | 10 | ok | 26/02/2024 |  |  | Handed Over | Received | traksi
65 | 194 | 150kV testpen | 10 | Pcs | 150kV | 10 | ok | 26/02/2024 |  |  | Handed Over | Received | traksi
204 | 195 | Gas mask | 10 | Set | - | 10 | ok | 28/02/2024 | 3M |  | Handed Over | Received | traksi
95 | 196 | Telescopic safety fence (warning tape) | 10 | Set | 5m | 10 | ok | 26/02/2024 |  |  | Handed Over | Received | traksi
193 | 197 | Digital torque wrench | 3 | Set | DH-JK-SXNL | 3 | ok | 28/02/2024 | YT-07901 |  | Handed Over | Received | traksi
101 | 198 | Rechargeable hydraulic pliers | 3 | unit | B135-UC | 3 | ok | 26/02/2024 |  |  | Handed Over | Received
74 | 199 | Rechargeable hydraulic cutter | 3 | Unit | B-TFC2 | 3 | ok | 26/02/2024 | ES-40 |  | Handed Over | Received
102 | 200 | Rechargeable crimping pliers | 3 | unit | B62 | 3 | ok | 26/02/2024 |  |  | Handed Over | Received
99 | 201 | Rechargeable cable cutter | 3 | unit | B-TC095 | 3 | ok | 26/02/2024 |  |  | Handed Over | Received
73 | 202 | Rechargeable nut shredder | 3 | Set | B-TD1724 | 3 | ok | 26/02/2024 | ES-24 |  | Handed Over | Received
189 | 203 | Torque wrench | 3 | Pcs | TZCEM | 3 | ok | 28/02/2024 | SE-02-200 |  | Handed Over | Received | traksi
187 | 204 | Electric combination tools | 3 | Pcs | - | 3 | ok | 28/02/2024 | BOSCH 18 V | Need to recheck | Handed Over | Received | traksi
192 | 205 | Grip (chain) hoist 1/2/3/5 | 3 | Pcs | 5T/3m | 3 | ok | 28/02/2024 | P-1.5T P-4T |  | Handed Over | Received | traksi
121 | 206 | Chain hoist | 3 | Pcs | NGK 1.5T*5M | 3 | ok | 27/02/2024 | PAH1500 |  | Handed Over | Received | traksi
100 | 207 | Rechargeable hydraulic cable cutting tool | 3 | set | B-TC051 | 3 | ok | 26/02/2024 |  |  | Handed Over | Received
223 | 208 | Soldering iron | 3 | Unit | - | 3 | ok | 28/02/2024 | STHT73732-8-23 |  | Handed Over | Received | traksi
72 | 209 | Rechargeable wire cutter | 3 | Set | ASI-C4 | 3 | ok | 26/02/2024 | ES-40 |  | Handed Over | Received
70 | 210 | Magnetic impact drill | 3 | Set | 5-18mm | 3 | ok | 26/02/2024 |  |  | Handed Over | Received | traksi
221 | 211 | 22 piece tool set | 3 | Set | 92-010-23 | 3 | ok | 28/02/2024 | 92-005-23 |  | Handed Over | Received | traksi
203 | 212 | Double offset ring spanner | 3 | Set | 6-27mm 09905 | 3 | ok | 28/02/2024 | YT-5034 |  | Handed Over | Received | traksi
222 | 213 | Torque wrench NB-22.5G 5-25N.m | 3 | Pcs | NB-22.5G 5-25N.m | 3 | ok | 28/02/2024 | STMT73587-23 |  | Handed Over | Received | traksi
228 | 214 | Sleeve head 6--10、8--14 | 3 | Set | 6-10, 8-14 | 3 | ok | 28/02/2024 | 6-10, 8-14 |  | Handed Over | Received | traksi
224 | 215 | Torque wrench NB-50G 15-50N.m | 3 | Pcs | NB-50G 15-50N.m | 3 | ok | 28/02/2024 | SE-01-050 |  | Handed Over | Received | traksi
230 | 216 | Sleeve head 8-14、10-17、12-19 | 6 | Set | 8-14, 10-17, 12-19 | 6 | ok | 28/02/2024 | 8-14, 10-17, 12-19 | Size 16-19 (minus 3 set) Each size (Completed on 1 March 2024) | Handed Over | Received | traksi
188 | 217 | Torque wrench NB-200 50-200N.m | 3 | Pcs | NB-200 50-200N.m | 3 | ok | 28/02/2024 | SE-01-200 |  | Handed Over | Received | traksi
229 | 218 | Sleeve head 16--24 | 6 | Set | 16-24 | 6 | ok | 28/02/2024 | 16-24 |  | Handed Over | Received | traksi
191 | 219 | Sleeve wrench (with sleeve head) | 9 | Pcs | 8-32mm 09906 | 9 | ok | 28/02/2024 | SATA9524 |  | Handed Over | Received | traksi
190 | 220 | Adjustable wrench | 6 | Pcs | 350mm | 6 | ok | 28/02/2024 | 350mm |  | Handed Over | Received | traksi
227 | 221 | Camera | 3 | Pcs | - | 3 | ok | 28/02/2024 | DSC HX99 |  | Handed Over | Received | traksi
210 | 222 | Vacuum cleaner | 3 | Unit | - | 3 | ok | 28/02/2024 | GAS15PS |  | Handed Over | Received | traksi
183 | 223 | Submersible pump | 6 | Unit | - | 6 | ok | 28/02/2024 | 220 V |  | Handed Over | Received | traksi
205 | 224 | Cable reel | 6 | Unit | - | 6 | ok | 28/02/2024 | 3x 2,5 x 50m | There is no converter | Not Yet Handed Over | Not yet received | traksi
104 | 225 | Debugging notebook | 1 | unit |  | 1 | ok | 26/02/2024 |  |  | Handed Over | Received
214 | 227 | Network tester | 1 | Pcs | - | 1 | ok | 28/02/2024 | Ugreen |  | Handed Over | Received | traksi
215 | 228 | Line finder | 1 | Pcs | - | 1 | ok | 28/02/2024 | SAMZHE |  | Handed Over | Received | traksi
217 | 229 | Optical fiber tester | 1 | Pcs | - | 1 | ok | 28/02/2024 | EZ-GG01 |  | Handed Over | Received | traksi
219 | 230 | USB to 232 adapter | 1 | Pcs | - | 1 | ok | 28/02/2024 | USB 2.0 DB9 Adapter Cable |  | Handed Over | Received | traksi
211 | 231 | Special vacuum cleaner | 1 | Unit | - | 1 | ok | 28/02/2024 | GAS15PS |  | Handed Over | Received | traksi
176 | 232 | Far infrared thermometer | 1 | Unit | UT303C | 1 | ok | 27/02/2024 | UT303C |  | Handed Over | Received | traksi
218 | 233 | External hard drives | 1 | Unit | - | 1 | ok | 28/02/2024 | Seagate 4T |  | Handed Over | Received | traksi
212 | 234 | Label making machine | 1 | Unit | - | 1 | ok | 28/02/2024 | C-330 |  | Handed Over | Received | traksi
216 | 235 | External DVD burner | 1 | Unit | - | 1 | ok | 28/02/2024 | DB85 |  | Handed Over | Received | traksi
4 | 236 | Full automatic three-phase transformer ratio tester | 3 | unit | SYD-3200 | 3 | ok | 23/02/2024 | SYD-3200 |  | Handed Over | Received |  |  |  | ✅
33 | 237 | Ground Resistance Meter | 3 | unit | YD-2110 | 3 | ok | 23/02/2024 | YD-2110 |  | Handed Over | Received
30 | 238 | Digital ground resistance tester | 3 | unit | YD-2110 | 3 | ok | 23/02/2024 | YD-2110 |  | Handed Over | Received
24 | 239 | Digital microohmmeter | 3 | unit | 10μΩ～1.999kΩ | 3 | ok | 23/02/2024 | 10μΩ～1.999kΩ |  | Handed Over | Received
17 | 240 | Large Caliber Digital Clamp Ammeter | 3 | Unit | 0～1000A | 3 | ok | 23/02/2024 | 0～1000A |  | Handed Over | Received
12 | 241 | Digital Clamp Multimeter | 3 | unit | UT 200 | 3 | ok | 23/02/2024 | UT 200 |  | Handed Over | Received
15 | 242 | Digital multimeter | 3 | Unit | Fluke233 | 3 | ok | 23/02/2024 | Fluke233 |  | Handed Over | Received
198 | 243 | Digital double clamp phase voltammeter | 3 | Unit | SYD-2000B | 3 | ok | 28/02/2024 | SYD-2000B |  | Handed Over | Received | traksi |  |  | ✅
27 | 244 | Wireless high-voltage nuclear phase detector | 3 | unit | SYD-1130 | 3 | ok | 23/02/2024 | SYD-1130 |  | Handed Over | Received
44 | 245 | Vacuum Tester | 3 | Unit | SYD-2300 | 3 | ok | 24/02/2024 | SYD-2300 |  | Handed Over | Received | traksi |  |  | ✅
5 | 246 | SF6 gas integrated analyzer | 3 | unit |  | 3 | ok | 23/02/2024 |  |  | Handed Over | Received |  |  |  | ✅
63 | 247 | SF6 laser leak detector | 3 | Unit | SR9903 | 3 | ok | 27/02/2024 | XP-1A |  | Handed Over | Received | traksi |  | sdh ttd di daftar crec3
2 | 248 | SF6 quantitative leak detector | 3 | unit |  | 3 | ok | 23/02/2024 |  |  | Handed Over | Received
6 | 249 | SF6 density relay calibrator | 3 | unit | SYD-3200 | 3 | ok | 23/02/2024 | SYD-3200 |  | Handed Over | Received |  |  |  | ✅
31 | 250 | Portable Power Quality Analyzer | 3 | unit | SYD-DN | 3 | ok | 23/02/2024 | SYD-DN |  | Handed Over | Received
199 | 251 | Phase meter | 3 | Unit | SYD-230B | 3 | ok | 28/02/2024 | SYD-230B |  | Handed Over | Received | traksi
40 | 252 | Full-automatic insulation boots and gloves withstand voltage test device | 1 | Unit | SYD-3850 | 1 | ok | 28/02/2024 | SYD-3850 |  | Handed Over | Received |  |  |  | ✅
7 | 253 | Intelligent power frequency withstand voltage test device (test transformer, control box) | 1 | Set | SYD-8400 | 1 | X | 23/02/2024 | SYD-8400 | Unable to test | Handed Over | Received | traksi
13 | 254 | Insulation resistance tester 500V (manual) | 1 | pcs | ZC-7 | 1 | ok | 23/02/2024 | ZC-7 |  | Handed Over | Received
14 | 255 | Insulation resistance tester 2500V (manual) | 1 | pcs | ZC-11D-10 | 1 | ok | 23/02/2024 | ZC-11D-10 |  | Handed Over | Received
35 | 256 | Digital electric insulation resistance tester 2500V | 2 | unit | SYD-8501 | 2 | ok | 23/02/2024 | SYD-8501 |  | Handed Over | Received
29 | 257 | Digital electric insulation resistance tester 5000V | 2 | unit | SYD-8500 | 2 | ok | 23/02/2024 | SYD-8500 |  | Handed Over | Received
25 | 258 | DC high voltage generator SYD-8000/120 | 2 | unit | SYD-8000/120 | 2 | ok | 23/02/2024 | SYD-8000/120 |  | Handed Over | Received
34 | 259 | DC high voltage generator SYD-8000/200 | 1 | unit | SYD-8000/200 | 1 | ok | 23/02/2024 | SYD-8000/200 |  | Handed Over | Received
98 | 260 | Power frequency withstand voltage test device | 1 | unit | SYD-8305 | 1 | ok | 2024-01-03 |  | 260 A di 504 260 B di 506 | Handed Over | Received
18 | 261 | High voltage microampere meter | 2 | Unit | SYD-211 | 2 | ok | 23/02/2024 | SYD-211 |  | Handed Over | received
180 | 262 | Full automatic anti-interference dielectric loss tester | 1 | Unit | SYD-3300 | 1 | ok | 28/02/2024 | SYD-3300 |  | Handed Over | Received | traksi
9 | 263 | Lightning arrester action count tester | 1 | unit | SYD-4030 | 1 | ok | 23/02/2024 | SYD-4030 |  | Handed Over | Received
186 | 264 | High-voltage switch characteristic tester | 1 | Unit | SYD-2100 | 1 | ok | 28/02/2024 | SYD-2100 |  | Handed Over | Received | traksi |  |  | Sudah
200 | 265 | Conductivity meter | 1 | Unit | - | 1 | ok | 28/02/2024 | HSS-5229 |  | Handed Over | Received | traksi
181 | 266 | High voltage switch detects operating power | 2 | Unit | SYD-2101 | 2 | ok | 28/02/2024 | SYD-2101 |  | Handed Over | Received | traksi
172 | 267 | Fill automatic capacitance and inductance tester | 1 | Unit | SYD-3700 | 1 | ok | 27/02/2024 | SYD-3700 |  | Handed Over | Received | traksi
20 | 268 | Mobile high-frequency switching DC power supply | 1 | Unit | SYD-3000W | 1 | ok | 23/02/2024 | SYD-3000W |  | Handed Over | Received |  |  | v
184 | 269 | DC two-arm bridge | 1 | Unit | QJ44 | 1 |  | 28/02/2024 | QJ44 | There is no battery | Handed Over | Received | traksi | 12/06/2024 Battery
225 | 270 | Single battery activation instrument | 1 | Unit | SYD-5300 | 1 | ok | 28/02/2024 | SYD-5300 |  | Handed Over | Received | traksi
16 | 271 | Pointer multimeter | 2 | Unit | MF47 | 2 | ok | 23/02/2024 | MF47 |  | Handed Over | Received
45 | 272 | Automatic transformer comprehensive tester | 2 | Unit | SYD-3900 | 2 | ok | 24/02/2024 |  |  | Handed Over | Received | traksi
8 | 273 | SF6 trace moisture tester | 1 | unit | SYD-F80 | 1 | ok | 23/02/2024 | SYD-F80 |  | Handed Over | Received | traksi
3 | 274 | SF6 quantitative leak detector | 1 | unit |  | 1 | ok | 23/02/2024 |  |  | Handed Over | Received |  | 12/06/2024 Charger
21 | 275 | SF6 Qualitative Leak Detector | 1 | unit | XP-1A | 1 | ok | 23/02/2024 | XP-1A |  | Handed Over | Received
50 | 276 | Frequency conversion resonance test equipment | 1 | Unit | SYD-8100 | 1 | X | 24/02/2024 |  | Unable to test | Handed Over | Received | traksi
11 | 277 | DC system ground fault locator | 1 | unit | ZLT2000 | 1 | ok | 23/02/2024 |  | Different Type : SYD-80ZL battery compartment lock cannot be opened | Not Yet Handed Over | Not yet received
51 | 278 | Power Supply | 1 | Unit | AN11S050RCY | 1 | X | 24/02/2024 |  | Unable to test | Handed Over | Received | traksi
201 | 279 | Oscilloscope | 1 | Unit | DS4000 | 1 | ok | 28/02/2024 | MSO5104 |  | Handed Over | Received | traksi
209 | 280 | Hand-held salt density tester | 1 | Unit | SYD-1104 | 1 | ok | 28/02/2024 | SYD-1104 |  | Handed Over | Received | traksi
32 | 281 | Transformer winding deformation tester | 1 | unit | SYD-8440 | 1 | ok | 23/02/2024 | SYD-8440 |  | Handed Over | Received
182 | 282 | Digital bridge | 2 | Unit | QJ84A | 2 | ok | 28/02/2024 | QJ84A |  | Handed Over | Received | traksi
19 | 283 | Capacitive bridge | 2 | Unit | SYD-3700 | 2 | ok | 23/02/2024 | SYD-3700 | 1 item competed on 04/03/2024 | Handed Over | Received
10 | 284 | Single protection tester | 1 | unit | SYD-5210 | 1 | ok | 23/02/2024 | SYD-5210 |  | Handed Over | Received
58 | 285 | Cable fault tester | 1 | Unit | SYD-6000 | 1 | ok | 26/02/2024 |  | Aksesoris belum lengkap | Not Yet Handed Over | Not yet received
237 | 286 | SF6 gas recovery device | 1 | Unit | ZNC-M1 | 1 | ok | 2024-01-03 |  |  | Handed Over | Received | traksi | Gudang 506
173 | 287 | Thermal imager | 1 | Unit | 890-2 | 1 | ok | 27/02/2024 | LT3-P |  | Handed Over | Received | traksi
238 | 288 | Vacuum oil filter ZL-5A | 1 | Unit | ZL-5A | 1 | ok | 2024-01-03 |  |  | Handed Over | Received | traksi | Gudang 506
234 | 289 | Vacuum oil filter ZJA-150 | 1 | Unit | ZJA-150 | 1 | ok | 2024-07-03 |  |  | Handed Over | Received | traksi | Gudang 506
195 | 290 | Sign Printing Machine | 1 | Unit | PT-9700Pc | 1 | ok | 28/02/2024 | PT-P900 |  | Handed Over | Received | traksi
196 | 291 | High-speed line number machine | 1 | Unit | 0.5 ～ 10mm | 1 |  | 28/02/2024 | TP66i | Still Chinese Language, can't switch to Indonesian language | Handed Over | Received | traksi | 12/06/2024 Software buat bahasa inggris
185 | 292 | Handheld thermometer | 1 | Unit | OS425-LS | 1 | ok | 28/02/2024 | OS425-LS |  | Handed Over | Received | traksi
206 | 293 | Cable reel | 2 | Unit | - | 2 | ok | 28/02/2024 | 3x 2,5 x 50m | There is no converter | Handed Over | Received | traksi
197 | 294 | Strong light flood light (large) | 1 | Unit | FW6105GC-J | 1 | ok | 28/02/2024 | GAD5116 |  | Handed Over | Received | traksi
220 | 295 | Portable flashlight | 5 | Unit | BXD6011A | 5 | ok | 28/02/2024 | RLEHL2060 |  | Handed Over | Received | traksi
207 | 296 | Multifunctional high-altitude wiring clamp | 2 | Unit | TD-1168 | 2 | ok | 28/02/2024 | TD-1168 |  | Handed Over | Received | traksi
213 | 297 | Powerful blower | 1 | Unit | - | 1 | ok | 28/02/2024 | GAS15PS |  | Handed Over | Received | traksi
241 | 298 | Multi-function bus processing machine | 1 | Unit | MX-503TS |  |  | 28/02/2024 |  | Unnable to check (cannot open the cover) | Not Yet Handed Over | Not yet Received | traksi | Gudang 506
103 | 299 | Water washer | 1 | unit | - |  |  | 26/02/2024 |  | Belum dicek | Not Yet Handed Over | Not yet received |  |  |  | ✅
71 | 300 | generator | 1 | Unit | 5kW | 1 | X | 26/02/2024 |  | Belum dicek, membutuhkan solar | Handed Over | Received
69 | 301 | Magnetic impact drill | 1 | Set | 5-18mm | 1 | ok | 26/02/2024 |  |  | Handed Over | Received | traksi
240 | 302 | High-altitude lifting arm operation truck | 1 | Pcs | 18m | 1 | ok | 2024-01-03 |  |  | Handed Over | Received | traksi | Gudang 506
202 | 303 | Special high-voltage cable disassembly tool | 1 | Set | - | 1 | ok | 28/02/2024 | HL135 |  | Handed Over | Received | traksi
171 | 304 | Communication Tools(walkietalkies) | 10 | Unit | - | 10 | ok | 27/02/2024 | BD500 |  | Handed Over | Received | traksi
53 | 305 | Automatic closed flash point meter | 1 | Unit | JKBS-3 | 1 | X | 24/02/2024 |  | Unable to test | Handed Over | Received | traksi |  |  | ✅
46 | 306 | Trace moisture analyzer | 1 | Unit | JKWS-2 | 1 | ok | 24/02/2024 |  |  | Handed Over | Received | traksi
42 | 307 | Transformer oil portable chromatography | 2 | Set | JKBP-1 | 2 | ok | 28/02/2024 |  | Unable to test 1 Set = Monitor, printer, tabung dll | Handed Over | Received | traksi |  |  | ✅
47 | 308 | Fully automatic oil dielectric strength tester | 2 | Unit | JKJQ-3 | 2 | ok | 24/02/2024 |  |  | Handed Over | Received | traksi |  |  | ✅
57 | 309 | Fast automatic full degassing sampling device for insulating oil chromatography analysis | 2 | Unit | JYS-5JB | 2 | ok | 24/02/2024 |  |  | Handed Over | Received
48 | 310 | Fully automatic insulating oil dielectric strength tester | 1 | Unit | HCJ-9201 | 1 | ok | 24/02/2024 |  |  | Handed Over | Received | traksi
38 | 311 | Fully automatic interfacial tension tester | 1 | unit | Accuracy: 0.1% of reading ±0.1 mN/m | 1 | ok | 23/02/2024 | Accuracy: 0.1% of reading ±0.1 mN/m |  | Handed Over | Received
52 | 312 | Fully automatic insulation oil gas tester | 1 | Unit | JKHQ-1 | 1 | X | 24/02/2024 |  | Unable to test | Handed Over | Received | traksi
49 | 313 | Fully automatic water soluble acid value tester | 1 | Unit | JKSR-3 | 1 | ok | 24/02/2024 |  |  | Handed Over | Received | traksi |  |  | ✅
59 | 314 | Cable fault tester host | 3 | Unit | SYD-6000 | 3 | ok | 26/02/2024 | SYD-6000 |  | Handed Over | Received | electric | lt2
67 | 315 | High voltage generator | 3 | Set | SYD-6210 | 3 | ok | 26/02/2024 | SYD-6210 |  | Handed Over | Received | Electric | lt2
62 | 316 | Track instrument | 3 | Unit | SYD-6400 | 3 | ok | 26/02/2024 | SYD-6400 | Tidak ada baterai | Handed Over | Received | electric | lt2
60 | 317 | Pinpointer | 3 | Unit | SYD-6300 | 3 | ok | 26/02/2024 | SYD-6300 |  | Handed Over | Received | electric | lt2
61 | 318 | Live cable identifier | 3 | Unit | SYD-6402 | 3 | ok | 26/02/2024 | SYD-6402 |  | Handed Over | Received | electric | lt2
82 | 319 | Electric crimping pliers | 3 | Set |  | 3 | ok | 26/02/2024 | EB-400 |  | Handed Over | Received | electric | lt2
87 | 320 | Electric cutter | 3 | Pcs | - | 3 | ok | 26/02/2024 | EB-85C |  | Handed Over | Received | electric | lt2
166 | 321 | Semiconductor layer stripping tool | 3 | Set | - | 3 | ok | 27/02/2024 | CS32 |  | Handed Over | Received | Electrical | lt2
164 | 322 | Outer sheath stripping tool | 3 | Set | - | 3 | ok | 27/02/2024 | CS10 |  | Handed Over | Received | Electrical | lt2
167 | 323 | Main insulation stripping tool | 3 | Set | - | 3 | ok | 27/02/2024 | CS55 |  | Handed Over | Received | Electrical | lt2
165 | 324 | Special tool for semiconductor layer lead angle | 3 | Set | 17240 | 3 | ok | 27/02/2024 | CS1832 |  | Handed Over | Received | Electrical | lt2
148 | 325 | Tie Tester | 3 | Set | SYD-6430 | 3 | ok | 27/02/2024 | MH125ZS | Masih berbahasa china | Handed Over | Received | Electrical | lt2
41 | 326 | AC withstand voltage test equipment | 1 | Unit |  | 1 |  | 24/02/2024 | SYD (J) -8400 |  | Handed Over | Received
147 | 327 | Automatic three-phase transformer ratio tester | 1 | Unit | SYD-3200 | 1 | ok | 27/02/2024 | SYD-3200 |  | Handed Over | Received | Electrical | lt2
1 | 328 | Instrument calibrator | 1 | Set | JW0306 | 1 | ok | 23/02/2024 | JW0306 |  | Handed Over | Received | Traksi
151 | 329 | Partial discharge tester | 1 | Set | - | 1 | ok | 27/02/2024 | SYD-9109 |  | Handed Over | Received | Electrical | lt2
91 | 331 | Portable arrester online detector | 6 | Unit | - | 6 | ok | 26/02/2024 | DYYHX-E |  | Handed Over | Received | electric | lt2
155 | 332 | Portable insulator fault detector | 6 | Unit | - | 6 | ok | 27/02/2024 | GCJZ-86F |  | Handed Over | Received | Electrical | lt2
89 | 333 | Portable ultrasonic tester | 3 | Unit | DYJF-9001 | 3 | ok | 26/02/2024 | DYJF-9001 |  | Handed Over | Received | electric | lt2
23 | 334 | Insulation Resistance Tester | 6 | unit | UT502A | 6 | ok | 23/02/2024 | SYD-511Y |  | Handed Over | Received | electric
161 | 335 | True RMS Multimeter | 6 | Unit | UT58A | 6 | ok | 27/02/2024 | UT58A |  | Handed Over | Received | Electrical | lt2
149 | 336 | Clamp meter | 6 | Unit | UT203 | 6 | ok | 27/02/2024 | F-381 |  | Handed Over | Received | Electrical | lt2
22 | 337 | Ground Resistance Tester | 6 | unit | UT522 | 6 | ok | 23/02/2024 | SYD-3200 |  | Handed Over | Received | electric
159 | 338 | Handheld infrared imager | 6 | Unit | UTi80 | 6 | ok | 27/02/2024 | UTi120s |  | Handed Over | Received | Electrical | 12/06/2024 USB Plug
160 | 339 | Far infrared thermometer | 6 | Unit | UT303C | 6 | ok | 27/02/2024 | UT303C |  | Handed Over | Received | Electrical | lt2
64 | 340 | 20kV telescopic electroscope | 6 | Pcs | 20kV | 6 | ok | 26/02/2024 | RLY20KV |  | Handed Over | Received | Electric | lt2
150 | 341 | Phase sequence table | 6 | Unit | VC850 | 6 | ok | 27/02/2024 | VC850 |  | Handed Over | Received | Electrical | lt2
90 | 342 | High-voltage wireless nuclear phase instrument | 6 | Set | 6kV～220kV | 6 | ok | 26/02/2024 | DYHX-II | Masih berbahasa mandarin | Handed Over | Received | electric | lt2
93 | 343 | Box transformer special tools | 6 | Set | - | 6 | ok | 26/02/2024 | - | tas 6 set (36pcs), palu 6 pcs, kabel rol 6 set, bor baterai 6 set, bor listrik 6 set, crimping manual 12 pcs | Handed Over | Received | electric | lt2
156 | 344 | GSM-R handheld terminal | 12 | Unit | OPH-810R | 12 | ok | 27/02/2024 | OPH-810R |  | Handed Over | Received | Electrical | lt2
158 | 345 | Walkie-talkie | 12 | Unit | BF-TD510 | 12 | ok | 27/02/2024 | BD500 |  | Handed Over | Received | Electrical | lt2
88 | 346 | Fixed lighting (condensing, flooding) | 6 | Set | CNT9150A | 6 | ok | 26/02/2024 | RLEIE5003 |  | Handed Over | Received | electric | lt2
168 | 347 | Hand (with magnetic) adjustable angle type lighting fixture | 12 | Set | BXW8210 | 12 | ok | 27/02/2024 | NLEPL3091 |  | Handed Over | Received | Electrical | lt2
170 | 348 | Mobile, with generator, dual lamp heads | 6 | Set | SFD6000C | 6 | ok | 27/02/2024 | GAD505H | perlu konfirmasi 6 unit tidak ada toolkit | Handed Over | Received | Electrical | 12/06/2024 6 toolkit
157 | 349 | Portable glare flashlight | 18 | Pcs | CON6029 | 18 | ok | 27/02/2024 | RLEHL2051 |  | Handed Over | Received | Electrical | lt2
92 | 350 | Rechargeable headlight | 18 | Pcs | BOS5118 | 18 | ok | 26/02/2024 | BAD308E |  | Handed Over | Received | electric | lt2
163 | 351 | Insulated boots | 6 | Set | 20kV | 6 | ok | 27/02/2024 | 20kV |  | Handed Over | Received | Electrical | lt2
162 | 352 | Insulated Gloves | 6 | set | 20kV | 6 | ok | 27/02/2024 | 20kV |  | Handed Over | Received | Electrical | lt2
169 | 354 | Safety belts, safety ropes, hard hats, foot buckles, personal tools | 18 | Set | - | 18 | ok | 27/02/2024 | - | perlu konfirmasi untuk personal tools tidak ada gesper | Handed Over | Received | Electrical | 12/06/2024 Buckle
152 | 355 | High power telescope | 6 | Pcs | - | 6 | ok | 27/02/2024 | 15x56 |  | Handed Over | Received | Electrical | lt2 | awalnya 330
94 | 356 | Telescopic safety fence (warning tape) | 6 | Set | 5m | 6 | ok | 26/02/2024 | 100m |  | Handed Over | Received | electric | lt2
138 | 357 | Tightener50-150 | 12 | Pcs | - | 12 | ok | 27/02/2024 | 50-150 |  | Handed Over | Received | ocs
137 | 358 | Tightener 150-300 | 12 | Pcs | - | 12 | ok | 27/02/2024 | 150-300 |  | Handed Over | Received | ocs
125 | 359 | Tightener70-95 | 12 | Pcs | - | 12 | ok | 27/02/2024 | 70-95 |  | Handed Over | Received | ocs
115 | 360 | Tightener185-240 | 12 | Pcs | - | 12 | ok | 27/02/2024 | 185-240 |  | Handed Over | Received | ocs
114 | 361 | Tightener300-400 | 12 | Pcs | - | 12 | ok | 27/02/2024 | 300-400 |  | Handed Over | Received | ocs
122 | 362 | Grip (chain) hoist 1.5T | 12 | Pcs | 5T/3m | 12 | ok | 27/02/2024 | P-1.5 |  | Handed Over | Received | ocs
123 | 363 | Grip (chain) hoist 4T | 12 | Pcs | 5T/3m | 12 | ok | 27/02/2024 | P-4T |  | Handed Over | Received | ocs
133 | 364 | Pulley block | 3 | Pcs | 1:4, 2t, Φ8*150m | 3 | ok | 27/02/2024 | 8*150m |  | Handed Over | Received | ocs
85 | 365 | Stitch wire installation tool | 3 | Set | DHTD-Q-01 | 3 | ok | 26/02/2024 | DHTD-Q-01 |  | Handed Over | Received
108 | 366 | Rechargeable nut shredder | 3 | set | DH-LMPQ-16A | 3 | ok | 27/02/2024 | MHS36 |  | Handed Over | Received | ocs
124 | 367 | Digital torque wrench | 6 | Set | DH-JK-SXNL | 6 | ok | 27/02/2024 | YT-07901 | Belum ada aksesoris kepala | Handed Over | Received | ocs | 12/06/2024 Aksesoris Kepala
146 | 368 | Torque wrench | 15 | Pcs | DH-JK-YZNL | 15 | ok | 27/02/2024 | YT-07741 | Belum ada aksesoris kepala | Handed Over | Received | ocs | 12/06/2024 Aksesoris Kepala
126 | 369 | Vernier calipers | 3 | Pcs | - | 3 | ok | 27/02/2024 | 200mm |  | Handed Over | Received | ocs
113 | 370 | level measurer | 6 | Pcs | DHLR-02 | 6 | ok | 27/02/2024 | DHLR-02 |  | Handed Over | Received | ocs
86 | 371 | Contact line smoothness detection ruler | 3 | pcs | DHPJ-01 | 3 | ok | 26/02/2024 | DHPJ-01 |  | Handed Over | Received
117 | 372 | Ruler | 3 | Pcs | - | 3 | ok | 27/02/2024 | TGC-P-1 |  | Handed Over | Received | ocs
129 | 373 | Positioner angle measuring instrument | 6 | Pcs | - | 6 | ok | 27/02/2024 | 0.02 |  | Handed Over | Received | ocs
55 | 374 | Catenary geometric parameter measuring instrument | 6 | Set | DHJ-9 | 6 | ok | 24/02/2024 | DHJ-9 | 3 set received 3 reject Completed on 05/03/2024 | Handed Over | Received
56 | 375 | Catenary abrasion measuring instrument | 3 | Set | DH-YDMC-4 | 3 | ok | 26/02/2024 | DH-YDMC-4 |  | Handed Over | Received
81 | 376 | Lead tension tester | 3 | Set | DH-ZL-01 | 3 | ok | 26/02/2024 | ESZ-100 |  | Handed Over | Received
128 | 377 | Laser rangefinder | 3 | Set | 100 m | 3 | ok | 27/02/2024 | LM-100 |  | Handed Over | Received | ocs
109 | 378 | Megohmmeter 500V | 3 | Pcs | ZC-7 | 3 | ok | 27/02/2024 | ZC-7 |  | Handed Over | Received | ocs
110 | 379 | Megohmmeter 2500V | 3 | Pcs | ZC-7 | 3 | ok | 27/02/2024 | ZC-7 |  | Handed Over | Received | ocs
134 | 380 | Insulation Resistance Tester | 3 | Unit | UT502A | 3 | ok | 27/02/2024 | UT500 |  | Handed Over | Received | ocs
255 | 381 | Light car ladder | 6 | Set | 300kg | 6 | ok | 29/02/2024 | RLJCT |  | Handed Over | Received | OCS | Gudang 506 | Equipmen and tools
120 | 382 | Hanging ladder | 3 | set | 6m | 3 | ok | 27/02/2024 | RLJG8 |  | Handed Over | Received | ocs
107 | 383 | Small cleaning equipment for insulation parts | 4 | unit | HDS | 4 | ok | 27/02/2024 | SHARK1115TSR |  | Handed Over | Received | ocs
105 | 386 | Electroscope | 20 | pcs | 35kV | 20 | ok | 27/02/2024 | RLY35KV | Spesifikasi yang dibutuhkan CR-Beijing berbeda dengan yang sudah diterima. Permintaan CR-Beijing 27.5kV | Handed Over | Received | ocs | di ganti dengan spek 27,5 kV 12/06/2024
154 | 387 | Insulated Gloves | 20 | set |  | 20 | ok | 27/02/2024 | 10 kV | CLOSE | Handed Over | Received | OCS | 35 kV 12/06/2024
153 | 388 | Insulation boots | 20 | set |  | 20 | ok | 27/02/2024 | 10 kV | Spesifikasi yang dibutuhkan CR-Beijing berbeda dengan yang sudah diterima. Permintaan CR-Beijing >15kV (CLOSE) | Handed Over | Received | OCS | Diganti dengan 35 kV 12/06/2024
106 | 389 | Safety belt, safety helmet | 100 | pcs | ANF-1 | 100 | ok | 27/02/2024 |  | safety helm :100 safety belt: 100 | Handed Over | Received | ocs
118 | 390 | Digital camera | 4 | Pcs | D3500 | 4 | ok | 27/02/2024 | EOS850D | Kelengkapan tas kurang 2 | Handed Over | Received | ocs | 12/06/2024 dilengkapi Tas camera 2 buah
132 | 391 | telescope | 4 | Pcs | 10 times | 4 | ok | 27/02/2024 | 10 * 50 |  | Handed Over | Received | ocs
139 | 392 | Metal fir rod | 8 | Set | - | 8 | ok | 27/02/2024 | RL-FZ |  | Handed Over | Received | ocs
136 | 393 | Closed pulley | 32 | Pcs | - | 32 | ok | 27/02/2024 | 1T | Sparepart yang dibutuhkan oleh CR-Beijing berbeda bentuk kait dengan yang sudah diterima | Not Yet Handed Over | Not yet received | ocs
112 | 394 | Nylon rope | 32 | Pcs | 20 meters per strip | 32 | ok | 27/02/2024 |  |  | Handed Over | Received | ocs
116 | 395 | Pay-off pulley | 24 | Pcs | - | 24 | ok | 27/02/2024 | 1t |  | Handed Over | Received | ocs
79 | 396 | Bench drill | 4 | Pcs | Z4112 | 4 | X | 27/02/2024 |  | Belum dites butuh sumber 3 phasa. kelengkapan kurang | Handed Over | Received |  | 12/06/2024 dilengkapi Mata Bor
130 | 397 | Vise | 8 | Pcs | - | 8 | ok | 27/02/2024 | - |  | Handed Over | Received | ocs
135 | 398 | Ground wire brazing | 32 | Set | - | 32 | ok | 27/02/2024 | - |  | Handed Over | Received | ocs
127 | 399 | Wooden hammer | 24 | Pcs | - | 24 | ok | 27/02/2024 | 65mm |  | Handed Over | Received | ocs
75 | 400 | Contact wire bender | 3 | Pcs | Five rounds | 3 | ok | 26/02/2024 | DUK5 |  | Handed Over | Received | ocs
77 | 401 | Cordless Hydraulic Strand Cutting Tool | 3 | Set | DHDX-03 | 3 | ok | 26/02/2024 | ES-40 |  | Handed Over | Received
131 | 402 | Rechargeable hydraulic contact wire cutting tool | 3 | Set | ECT-4M | 3 | ok | 27/02/2024 | BCE025G-ND |  | Handed Over | Received | ocs
83 | 403 | Cordless hydraulic cable cutting tool | 3 | Set | ECT-85 | 3 | ok | 26/02/2024 | EB-85 |  | Handed Over | Received
78 | 404 | Rechargeable hydraulic crimping tool | 3 | Set | DHYJ-D-01 | 3 | ok | 26/02/2024 | ES-300 |  | Handed Over | Received
84 | 405 | Electrically connected hydraulic tools | 3 | Set | DHYJ-B-01 | 3 | ok | 26/02/2024 | DHYJ-B-01 |  | Handed Over | Received
76 | 406 | Magnetic drill | 3 | Set | J1C-FF-23 | 3 | ok | 26/02/2024 | J1C-FF-23 | Kelengkapan kurang | Handed Over | Received | ocs | 12/06/2024 dilengkapi 12 mata bor @ 4
140 | 407 | Mini explosion-proof headlight | 100 | Pcs | BOS5118 | 100 | ok | 27/02/2024 | BAD308E-T2 |  | Handed Over | Received | ocs
80 | 408 | Strong light inspection light | 100 | Pcs | XCL6022 | 100 | ok | 26/02/2024 | GAD202-J |  | Handed Over | Received
143 | 409 | Light lifting floodlight | 3 | Pcs | SFD6000C | 3 | ok | 27/02/2024 | BAD506 | Tool kit kurang 2 | Handed Over | Received | ocs | 12/06/2024 dilengkapi Tool kit 2
141 | 410 | Explosion-proof moving lights | 3 | Pcs | FD8120CT | 3 | ok | 27/02/2024 | BAD503 (50W) |  | Handed Over | Received | ocs
142 | 411 | Portable moving light | 3 | Pcs | BXW8210 | 3 | ok | 27/02/2024 | BAD516 |  | Handed Over | Received | ocs
144 | 412 | Lightweight and versatile light | 3 | Pcs | CH8500A | 3 | ok | 27/02/2024 | BAD309E |  | Handed Over | Received | ocs
119 | 413 | Generator | 3 | Unit | 3kW | 3 | X | 27/02/2024 | EF2600 | Belum dites tidak ada solar | Handed Over | Received | ocs
145 | 414 | Insulated Water Rinse Equipment | 1 | Pcs | IPC SG48 |  |  | 27/02/2024 | AKSDS500 | Air bocor, menunggu manufaktur | Not Yet Handed Over | Not yet received | ocs
111 | 415 | Infrared Thermal Imager | 1 | Unit | FLIR T560 | 1 | ok | 27/02/2024 | FLIR T560 |  | Handed Over | Received | ocs
409 | 417 | High Speed Railway 6C system C2 Subsystem (Catenary Safety Inspection System) | 1 | Set |  | 1 | ok | 2024-12-06 |  | Main Equipment 2c = 1, Power Bank = 2 Tablet =1 Accesoris = 1 set | Handed Over | Received
410 | 418 | High Speed Railway 6C system C4 Subsystem (Catenary Suspension state detection and monitoring System) | 1 | Set |  | 1 | ok | 2024-12-06 |  |  | Handed Over | Received
421 | 330 | Far infrared wire altimeter | 6 | set | LM120C | 6 | ok | 27/08/2024 | GLM 100-25C |  | Handed Over | Received
422 | 353 | Grounding Seal | 12 | pcs | 20kV | 12 |  | 27/08/2024 |  | 1 rod have defect | Handed Over | Received
423 | 385 | Equipotential lines (isopotential poles, etc.) | 12 | set |  | 12 (8 double + 4 single) |  | 27/08/2024 |  | 1 rod have defect | Handed Over | Received
424
425
426
427
428
X | : Tidak bisa ditest karena jenis alat

## OCS Emergency Repair
List of Hand Over Power System
No | ML | No Masterlist | Item name | Quantity | Unit | Spesification | Quantity Check | Function Check | Date | Spek diterima | Remark | Status
63 | 3.1 | 3 | H steel mast GHT240B/7.5 | 3 | Unit | GHT240B/7.5 | 3 | ok | 2024-07-03 | GHT240B/7.5 |  | Received | OCS | Gudang 506
62 | 3.2 | 4 | H steel mast GHT240B/7.7 | 3 | Unit | GHT240B/7.7 | 3 | ok | 2024-07-03 | GHT240B/7.7 GHT240B/8.6 | GHT240B/7.7 : 1 unit GHT240B/8.6 : 2 unit | Received | OCS | Gudang 506
61 | 3.3 | 5 | H steel mast GHT240B/7.9 | 2 | Unit | GHT240B/7.9 | 2 | ok | 2024-07-03 | GHT240B/7.9 |  | Received | OCS | Gudang 506
60 | 3.4 | 6 | H steel mast GHT240B/8.6 | 2 | Unit | GHT240B/8.6 | 2 | ok | 2024-07-03 | GHT240B/8.6 |  | Received | OCS | Gudang 506
59 | 3.5 | 7 | H steel mast GHT240B/9.0 | 1 | Unit | GHT240B/9.0 | 1 | ok | 2024-07-03 | GHT240B/9.0 |  | Received | OCS | Gudang 506
58 | 3.6 | 8 | H steel mast GHT240B/11 | 1 | Unit | GHT240B/11 | 1 | ok | 2024-07-03 | GHT240B/11 |  | Received | OCS | Gudang 506
64 | 3.7 | 9 | Mast repair | 6 | Pcs | GQX-350 | 6 | ok | 2024-08-03 | - |  | Received | OCS | Gudang 506
24 | 3.8 | 10 | Commonly used support positioning structures (including various types of positioners, non-support anchor support clips) | 6 | Unit | - | 6 | ok | 2024-06-03 | - |  | Received | OCS | Gudang 506
27 | 3.9 | 11 | H steel mast cantilever bracket (single) | 6 | Unit | - | 6 | ok | 2024-06-03 | - |  | Received | OCS | Gudang 506
39 | 3.1 | 12 | H steel mast cantilever bracket (twin) | 6 | Unit | - | 6 | ok | 2024-06-03 | - | Barang sudah ditukar, kurang aksesoris baut 24 pcs Completed on 01/04/2024 | Received | OCS | Gudang 506
33 | 3.11 | 13 | Cross beam steel mast cantilever bracket(single) | 6 | Unit | - | 6 | ok | 2024-06-03 | - |  | Received | OCS | Gudang 506
41 | 3.12 | 14 | Cross beam steel mast cantilever bracket(twin) | 2 | Unit | - | 2 | ok | 2024-06-03 | - |  | Received | OCS | Gudang 506
34 | 3.13 | 15 | Cross beam drop tube cantilever bracket(single) | 6 | Unit | - | 6 | ok | 2024-06-03 | - |  | Received | OCS | Gudang 506
40 | 3.14 | 16 | Cross beam drop tube cantilever bracket(twin) | 6 | Unit | - | 6 | ok | 2024-06-03 | - |  | Received | OCS | Gudang 506
26 | 3.15 | 17 | Tunnel Drop tube cantilever bracket(single) | 6 | Unit | - | 6 | ok | 2024-06-03 | - |  | Received | OCS | Gudang 506
57 | 3.16 | 18 | Tunnel Drop tube | 6 | Unit | - | 6 | ok | 2024-07-03 | - |  | Received | OCS | Gudang 506
8 | 3.17 | 19 | Messenger wire anchor base for H steel mast outside the tunnel | 3 | Unit | - | 3 | ok | 2024-04-03 | - |  | Received | OCS | Gudang 506
7 | 3.18 | 20 | Contact wire anchor base for H steel mast outside the tunnel | 3 | Unit | - | 3 | ok | 2024-04-03 | - |  | Received | OCS | Gudang 506
25 | 3.19 | 21 | Ratchet anchor base for steel mast messenger wire outside the tunnel cross beam | 3 | Unit | - | 3 | ok | 2024-06-03 | - |  | Received | OCS | Gudang 506
37 | 3.2 | 22 | Ratchet anchor base for steel mast contact wire outside the tunnel cross beam | 3 | Unit | - | 3 | ok | 2024-06-03 | - |  | Received | OCS | Gudang 506
42 | 3.21 | 23 | Ratchet anchor base for messenger wire in tunnel | 3 | Unit | - | 3 | ok | 2024-06-03 | - | 1 barang akan diganti karena beda bentuk dan arahnya (completed on 07/03/2024) | Received | OCS | Gudang 506
43 | 3.22 | 24 | Ratchet anchor base for contact wire in tunnel | 3 | Unit | - | 3 | ok | 2024-06-03 | - |  | Received | OCS | Gudang 506
28 | 3.23 | 25 | Ratchet compensation device (outside the tunnel) | 3 | Unit | - | 3 | ok | 2024-06-03 | - |  | Received | OCS | Gudang 506
29 | 3.24 | 26 | Ratchet compensation device (in-tunnel) | 3 | Unit | - | 3 | ok | 2024-06-03 | - |  | Received | OCS | Gudang 506
35 | 3.25 | 27 | Iron pendant weight (round) | 15 | Unit | - | 15 | ok | 2024-06-03 | - |  | Received | OCS | Gudang 506
36 | 3.26 | 28 | Iron pendant weight (square type) | 15 | Unit | - | 15 | ok | 2024-06-03 | - |  | Received | OCS | Gudang 506
1 | 3.27 | 29 | Messenger wire | 2400 | meter | JTM-95 | 2400 | ok | 2024-04-03 | JTM-95 | Sparepart dan emergency repair digabung menjadi 3 Hazfel | Received | OCS | Gudang 506
10 | 3.28 | 30 | Messenger wire(JTMM-120) | 3900 | meter | JTMM-120 | 3900 | ok | 2024-04-03 | JTMM-120 | Sparepart dan emergency repair digabung menjadi 6 Hazfel | Received | OCS | Gudang 506 | Masih ada part clamp yang blm dilengkapi
2 | 3.29 | 31 | Contact wire | 2400 | meter | CTMM-120 | 2400 | ok | 2024-04-03 | CTM-120 | Sparepart dan emergency repair digabung menjadi 3 Hazfel | Received | OCS | Gudang 506
9 | 3.3 | 32 | Contact wire(CTMM-150) | 3900 | meter | CTMM150 | 3900 | ok | 2024-04-03 | CTMM150 | Sparepart dan emergency repair digabung menjadi 6 Hazfel | Received | OCS | Gudang 506
13 | 3.31 | 33 | Return conductor JL/LB20AF-250 | 1900 | meter | JL/LB20AF-250 | 2050 | ok | 2024-05-03 | JL/LB20AF-250 |  | Received | OCS | Gudang 506
15 | 3.32 | 34 | Negative feeder JL/LB20AF-300 | 1900 | meter | JL/B20AF-300 | 2030 | ok | 2024-05-03 | JL/LB20AF-300 |  | Received | OCS | Gudang 506
11 | 3.33 | 35 | Protective wire JL/LB20AF-200 | 1900 | meter | JL/LB20AF-200 | 1900 | ok | 2024-04-03 | JL/LB20AF-200 |  | Received | OCS | Gudang 506
16 | 3.34 | 36 | Lightning wire | 1900 | meter | GJ 1x19 | 1900 | ok | 2024-05-03 | GJ-50 | Sparepart dan emergency repair digabung menjadi 3 Hazfel | Received | OCS | Gudang 506
19 | 3.35 | 37 | Electrical connection clamp for messenger wire 95/95 | 12 | Pcs | 95/95 | 12 | ok | 2024-06-03 |  |  | Received | OCS | Gudang 506
21 | 3.36 | 38 | Electrical connection clamp for messenger wire 120/95 | 12 | Pcs | 120/95 | 12 | ok | 2024-06-03 | - |  | Received | OCS | Gudang 506
20 | 3.37 | 39 | Electrical connection clamp for contact wire | 12 | Unit | - | 12 | ok | 2024-06-03 | 95 |  | Received | OCS | Gudang 506
14 | 3.38 | 40 | Electrical connection wire TJR-1-95 | 160 | meter | TJR-1-95 | 160 | ok | 2024-05-03 | TJR-1-95 |  | Received | OCS | Gudang 506
23 | 3.39 | 41 | Tapered sleeve type messenger wire terminal anchor wire clip 95 | 10 | Unit | 95 | 10 | ok | 2024-06-03 | 95 |  | Received | OCS | Gudang 506
54 | 3.4 | 42 | Tapered sleeve type messenger wire terminal anchor wire clip 120 | 16 | Pcs | - | 16 | ok | 2024-07-03 | MW120 |  | Received | OCS | Gudang 506
55 | 3.41 | 43 | Tapered sleeve type contact wire terminal anchor wire clip 120 | 10 | Pcs | - | 10 | ok | 2024-07-03 | CW120 |  | Received | OCS | Gudang 506
56 | 3.42 | 44 | Tapered sleeve type contact wire terminal anchor wire clip 150 | 16 | Pcs | - | 16 | ok | 2024-07-03 | CW150 | Ditukar dengan sparepart no 35 | Received | OCS | Gudang 506
3 | 3.43 | 45 | Negative Feeder Pre-Stranded Tension clamp | 16 | Unit | 300 | 16 | ok | 2024-04-03 | 300 |  | Received | OCS | Gudang 506
5 | 3.44 | 46 | Protective wire Pre-Stranded Tension clamp | 16 | Unit | 200 | 16 | ok | 2024-04-03 | - |  | Received | OCS | Gudang 506
4 | 3.45 | 47 | Return conductor Pre-Stranded Tension clamp | 4 | Unit | 250 | 4 | ok | 2024-04-03 | - |  | Received | OCS | Gudang 506
6 | 3.46 | 48 | Lightning wire Pre-Stranded Tension clamp | 10 | Unit | 50 | 10 | ok | 2024-04-03 | - |  | Received | OCS | Gudang 506 | Kurang 18 meter
17 | 3.47 | 49 | Contact wire mid-point anchor clamp | 3 | Unit | 95 | 3 | ok | 2024-06-03 | - | Include 3 set kawat mid point anchor | Received | OCS | Gudang 506
18 | 3.48 | 50 | Messenger wire mid-point anchor clamp | 3 | Unit | 95/120 | 3 | ok | 2024-06-03 | 50-150 |  | Received | OCS | Gudang 506
53 | 3.49 | 51 | Suspension insulators (porcelain) | 30 | Unit | XWP2-70 | 30 | ok | 2024-07-03 | XWP2-70 |  | Received | OCS | Gudang 506
48 | 3.5 | 52 | Suspension insulators (composite) | 60 | Unit | FQXS27.5/160HH | 60 | ok | 2024-06-03 | - | Sparepart dan emergency repair digabung menjadi 2 Box | Received | OCS | Gudang 506
44 | 3.51 | 53 | Rod insulator (compound silicone rubber) | 30 | Unit | FQB27.5/20-1600 | 30 | ok | 2024-06-03 | - | Sparepart dan emergency repair digabung menjadi 3 Box | Received | OCS | Gudang 506
30 | 3.52 | 54 | Rod insulator (porcelain) | 60 | Unit | QB27.5/20-1600 | 60 | ok | 2024-06-03 | QB27.5/20-1600 |  | Received | OCS | Gudang 506
47 | 3.53 | 55 | Overhead crossing | 3 | Pcs | T1(1800mm)/ T2(2500mm) | 3 | ok | 2024-06-03 | L=1800mm |  | Received | OCS | Gudang 506
45 | 3.54 | 56 | Stitch wire clamp | 6 | Unit | 150 | 6 | ok | 2024-06-03 | 35-120 |  | Received | OCS | Gudang 506
46 | 3.55 | 57 | JTMH35 Stitch wire | 120 | meter | JTMH35 | 120 | ok | 2024-06-03 | JTMH35 |  | Received | OCS | Gudang 506
22 | 3.56 | 58 | Integral dropper wire | 60 | Unit | 95/120 | 60 | ok | 2024-06-03 | 95/120 |  | Received | OCS | Gudang 506
32 | 3.57 | 59 | High voltage cable intermediate head | 8 | Unit | - | 8 | ok | 2024-06-03 | JJLS_1x400 | Remaining 3 unit Completed on 08/03/2024 | Received | OCS | Gudang 506
31 | 3.58 | 60 | High voltage cable intermediate head | 3 | Unit | - | 3 | ok | 2024-06-03 | JJLS_1x300 |  | Received | OCS | Gudang 506
51 | 3.59 | 61 | High Voltage Cable Termination | 26 | Unit | - | 24 | X | 2024-07-03 | 1*400mm2 | Outstanding Issue Remaining 2 unit Expired on 28/7/2024 | Not yet received | OCS | Gudang 504
52 | 3.6 | 62 | High Voltage Cable Termination | 13 | Unit | - | 13 | X | 2024-07-03 | 1*300mm2 | Expired on 21/03/2025 | Received | OCS | Gudang 504
38 | 3.61 | 63 | Section insulator | 4 | Unit | FYFH-1.8AT（原DXF-（1.6）Ⅱ） | 4 |  | 2024-12-06 |  |  | Received | OCS | Gudang 506
12 | 3.62 | 64 | Disconnector | 2 | Set | GW1-27.5 | 2 | ok | 2024-05-03 | GW1-2x31.5 GW1-31.5 | Kelengkapan DS double pole (Arm 5S036963) kurang 1 Completed on 07/03/2024 | Received | OCS | Gudang 506
| 3.63 | 65 | Iron wire | 50 |  | 4.0㎟ |  |  | 27/08/2024 | 4.0㎟ |  | Received | OCS | Gudang 504
50 | 4 | 66 | Communication Tools (walkie-talkies) | 16 | Unit | BF-TD510 | 16 | ok | 2024-07-03 | WR 808 |  | Received | OCS | Gudang 504
49 | 7 | 69 | Diesel Generators | 3 | Unit | - | 3 | X | 2024-07-03 | APD10000ES-DVPLUS | Unnable to test, need oil to test | Received | OCS | Gudang 504
65
66
67
68
69